## Complaint_Intake_Form
Complaint ID | Date Received | Source (Customer/Distributor/HCP/Internal) | Reporter Contact | Product Name | Model/Catalog No. | UDI-DI / UDI-PI | Lot/Serial | Installation/Implant Date (if applicable) | Event Date | Event Description (verbatim) | Alleged Issue Type (malfunction/serious injury/death/other) | Patient Involved? (Y/N) | Harm Severity (per company scale) | Location (Country/State) | Initial Risk Level (Low/Med/High) | Photos/Attachments (Y/N) | Returned Product (Y/N) | Date Acknowledged to Reporter | Assigned Investigator | Target Close Date | Linked NCR/SCAR (if any) | Is MDR/IVDR/MDR(EU) potentially reportable? (Y/N/Unknown) | Initial Regulatory Assessment Notes | Requires CAPA? (Y/N/Defer) | CAPA ID (if opened) | Status (Open/Under Investigation/Closed) | Closure Date

## Triage_Reg_Assessment
Complaint ID | Serious Injury (Y/N) | Death (Y/N) | Malfunction (Y/N) | Could malfunction cause death/serious injury if recurs? (Y/N) | US MDR reportable? (Y/N) | US MDR Due Date (30-day/5-day) | EU MDR serious public health threat? (2-day) | EU MDR death/unanticipated serious deterioration? (10-day) | EU MDR other serious incident? (15-day) | FSCA needed? (Y/N) | Corrections & Removals (21 CFR 806) required? (Y/N) | Trend Report (EU Art.88) considered? (Y/N) | Notes

## Investigation_Log
Complaint ID | Investigation Start | Investigation Steps | Root Cause (5-Why/FMEA link) | Verification/Validation of Fix | Containment Actions | Corrective Actions | Preventive Actions | Effectiveness Check Plan | Effectiveness Check Due | Investigator | Approver

## PMS_Plan_Outline
Device/Family | Intended Use | Risk Class | Post-Market Data Sources | Signal Detection Methods (trending thresholds, control charts) | PMCF Activities (if applicable) | PMS Indicators & KPIs | Complaint Handling Integration | Vigilance Reporting Pathways (US/EU/Other) | PSUR/PMSR Schedule | Inputs to RMF (ISO 14971) & Clinical Evaluation | SOP References

## KPIs_Trending
Month | Units Shipped | Complaints | Serious Incidents | Reportable (US) | Reportable (EU) | Complaints per 1,000 Units | Serious per 10,000 Units | On-Time Closure % (<=30 days) | CAPA Triggered | FSCA Initiated

## PSUR_PMSR_Tracker
Device/Family | Risk Class | PSUR Required? (IIa/IIb/III) | Frequency (Annual/2-year) | Next PSUR Due | NB Involvement (Y/N) | PMSR (Class I) Next Update | Notes