## Risk Model
Criterion | Weight (0-5) | Guidance
Product Impact (Patient/Device Criticality) | 5 | Implantable/sterile/critical dimensions -> higher score
Process Complexity (Special/validated?) | 4 | Special processes (sterilization, sealing, coating) -> higher
Detectability (at incoming/in-process) | 4 | If defects are hard to detect -> higher
Reg/Compliance Risk (US/EU/IR) | 3 | Impacts labeling, sterilization, safety standards -> higher
Performance History (NC/SCAR/OTD) | 3 | Poor history -> higher risk
Supply Risk (Single source/BCP) | 2 | Single source/no BCP -> higher

## Risk Buckets
Weighted Score Range | Category | Controls
≥ 60 | A (Critical) | On-site audit 12 mo; full QAA; incoming tightened; quarterly review
35–59 | B (Significant) | Audit 24 mo; QAA; semiannual scorecard
≤ 34 | C (Routine) | Audit 36 mo or on trigger; desktop review; annual scorecard

## Supplier Scoring
Supplier | Process/Scope | Device Family | Impact(0-10) | Complexity(0-10) | Detectability(0-10) | RegRisk(0-10) | Performance(0-10) | SupplyRisk(0-10) | Weights Applied | Weighted Score | Category | Audit Frequency (mo) | QA Level | Owner
SterilCo | EO Sterilization | Catheters | 10 | 9 | 8 | 9 | 6 | 7 | 5,4,4,3,3,2 | 177 | A | 12 | Full QAA | Supplier Quality
PackWell | Pouch & Tray Sealing | Surgical Kits | 8 | 7 | 6 | 6 | 7 | 5 | 5,4,4,3,3,2 | 141 | B | 24 | QAA | Supplier Quality
LabTest 17025 | Bioburden & Sterility Test | All sterile | 9 | 6 | 7 | 8 | 8 | 4 | 5,4,4,3,3,2 | 153 | A | 12 | Full QAA | QA/RA
CompFasteners | Metal Screws | Non-sterile instruments | 3 | 3 | 8 | 3 | 9 | 4 | 5,4,4,3,3,2 | 103 | C | 36 | Desktop QAA | Purchasing/QA

## Audit Program
Year | Supplier | Category | Audit Type | Scope | Lead Auditor | Planned Date | Status | Findings Summary | Score (0-100)
2025 | SterilCo | A | On-site | 13485 + Process (EO) + QMSR visibility | L. Auditor | 2025-11-05 | Planned
2025 | PackWell | B | Remote | ISO 11607 + sealing + IQ/OQ/PQ | L. Auditor | 2025-12-10 | Planned
2026 | LabTest 17025 | A | On-site | ISO 17025 + methods + data integrity | L. Auditor | 2026-02-20 | Planned

## ASL
Supplier | Code | Scope | Criticality | Certificates | Cert Expiry | Last Audit | Next Audit | Quality Agreement Ref | Re-eval (mo) | Status
SterilCo | STR001 | EO Sterilization | A | ISO 13485 | 2026-08-31 | 2024-09-01 | 2025-11-05 | QAG-STER-01 | 12 | Approved
PackWell | PKW020 | Sealing & Packaging | B | ISO 9001 | 2026-05-31 | 2023-12-10 | 2025-12-10 | QAG-PKG-04 | 24 | Approved
LabTest 17025 | LAB070 | Bioburden/Sterility | A | ISO 17025 | 2026-02-28 | 2024-02-20 | 2026-02-20 | QAG-LAB-02 | 12 | Approved

## SCAR Log
SCAR ID | Date Opened | Supplier | NC Type | Severity | Description | Containment | Root Cause | Corrective Action | Preventive Action | Due Date | Status | Verification | Closure Date
SCAR-2025-001 | 2025-08-12 | SterilCo | Process NC (EO cycle) | High | Residuals above spec on 2 lots | Quarantine lots; notify RA |  |  |  | 2025-09-20 | Open
SCAR-2025-004 | 2025-07-01 | PackWell | Packaging Seal | Medium | F88 below LSL on 3 samples | 100% re-inspection | Heat bar wear | Replace bar; adjust setpoints | Add PM monthly | 2025-07-25 | Closed | Re-test OK | 2025-07-28

## Change Notices
CCN ID | Supplier | Change Type | Description | Risk (H/M/L) | Requires Approval (Y/N) | Effective Date | Impacted Docs | Decision | Notes
CCN-2025-010 | PackWell | Equipment/Tooling | New heat sealer model | M | Y | 2025-10-15 | PQ-Seal, WI-OP-12, QAG-PKG-04
CCN-2025-013 | SterilCo | Process Parameter | EO concentration window update | H | Y | 2025-11-01 | VMP-STER, PQ-STER, COA template

## Incoming Insp Plan
Item/Material | Supplier | Spec/Rev | Criticality | AQL (ISO 2859-1) | Sample Size | Methods | Acceptance | Reaction Plan
Tyvek Pouch 305x400 | PackWell | SPEC-PKG-023/R4 | B | 1.0 | General II | Visual + Dimensional + Peel test | No critical defects; peel ≥ X N | Escalate to SCAR if 2 lots fail in 3 months
EO Sterilized Load | SterilCo | SPEC-STER-EO/R7 | A | 0.65 | Tightened | BI/CI review + parametrics + residues (10993-7) | Meets SAL; residues within limits | Stop ship + investigation

## KPI Data
Month | OTD % | Supplier OOS (ppm) | SCAR Avg Closure Days | Audits Overdue | Supplier-caused Complaints
2025-05 | 96 | 480 | 21 | 1 | 2
2025-06 | 95 | 350 | 18 | 0 | 1
2025-07 | 93.5 | 620 | 28 | 1 | 3
2025-08 | 97.2 | 300 | 16 | 0 | 0